Sample Tracking: Bin Sorting and Transport Workflow with Prepared Bin Labels

This resource is intended to help with tracking physical samples when bins (e.g., boxes, totes) are used for sample sorting and transport purposes. This resource includes the following elements:

1.	General description of bin label organization options for unidentified human remains (UHR) samples, family reference samples (FRS), associated personal item (API) samples, exclusionary DNA samples (EDS), and identified (ID) samples. This serves as a legend for explaining bin numbers and categories.

2.	A general workflow demonstrating possible sample movement when employing bins for sample sorting and transport. Please note that the sample movement workflow may be cyclical, and the workflow presented here may not be exhaustive of all possible options related to the life cycle of each type of sample (i.e., UHR samples, FRS, API samples, EDS, and ID samples). Please also note that every sample may not move through each bin associated with the relevant sample type.

3.	A fillable table for tracking sample type, bin label, testing location, and bin storage location.

4.	Prepared bin labels with blanks for indicating (testing) location and providing a description of the bin’s contents (e.g., batch numbers).

Bin Label Organization Options

UHR Samples

UHR-01: UHR sample intake completed and UHR sample inventoried

UHR-02: UHR sample processed and ready for Rapid DNA testing

UHR-03: UHR sample ready for analysis

UHR-04: UHR sample re-run, if necessary

UHR-05: UHR sample generated a profile but has not yet been ID’d

UHR-06: Submit UHR sample to the laboratory for traditional DNA testing, analysis, or quarantine until possible ID

FRS

FRS-01: FRS intake completed and FRS inventoried

FRS-02: FRS processed and ready for Rapid DNA testing

FRS-03: FRS ready for analysis

FRS-04: FRS re-run, if necessary

FRS-05: FRS generated a profile but has not yet been associated with a UHR sample

FRS-06: Submit FRS to the laboratory for traditional DNA testing, analysis, or quarantine until possible association is made with a UHR sample

FRS-07: FRS cannot be tested or compared with a sample from a missing relative due to the degree of relatedness

API Samples

API-01: API sample intake completed and API sample inventoried

API-02: API sample processed and ready for Rapid DNA testing

API-03: API sample ready for analysis

API-04: API sample re-run, if necessary

API-05: API sample generated a profile but has not yet been associated with a UHR sample

API-06: Submit API sample  to the laboratory for traditional DNA testing, analysis, or quarantine until possible association is made with a UHR sample

EDS

EDS-01: EDS intake completed and EDS inventoried

EDS-02: EDS processed and ready for Rapid DNA testing

EDS-03: EDS ready for analysis

EDS-04: EDS re-run, if necessary

EDS-05: EDS generated a profile but has not yet been associated with a mixture profile in an API sample

EDS-06: Submit EDS to the laboratory for traditional DNA testing, analysis, or addition to a missing and UHR elimination database until all API samples have been analyzed

ID Samples

ID-01: Missing relative ID’d and documented

ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

General Workflow/Sample Movement

BIN 4 (UHR-04, FRS-04, API-04, or EDS-04)

- Sample re-run, if necessary

BIN 5 (UHR-05, FRS-05, API-05, or EDS-05)

- UHR-05: UHR sample generated a profile but has not yet been ID’d

- FRS-05: FRS generated a profile but has not yet been associated with a UHR sample

- API-05: API sample generated a profile but has not yet been associated with a UHR sample

- EDS-05: EDS generated a profile that has not yet been associated with a mixture

BIN 1 (UHR-01, FRS-01, API-01, or EDS-01)

- Sample intake completed

- Sample inventoried

BIN 2 (UHR-02, FRS-02, API-02, or EDS-02)

- Sample processed

- Ready for Rapid DNA testing

BIN 3 (UHR-03, FRS-03, API-03, or EDS-03)

- Sample ready for analysis

- If two instruments are available for testing, UHR samples and reference samples (i.e., FRS, API samples, EDS) can be tested simultaneously.

- If one instrument is available for testing, UHR samples may be batched, and reference samples (i.e., FRS, API samples, EDS) can be tested intermittently.

BIN 7 (FRS-07)

- FRS cannot be tested or compared with a sample from a missing relative due to the
degree of relatedness

BIN 6 (UHR-06, FRS-06, API-06, or EDS-06)

- UHR-06: Submit UHR sample to the laboratory for traditional DNA testing, analysis, or quarantine until possible ID

- FRS-06: Submit FRS to the laboratory for traditional DNA testing, analysis, or quarantine until possible association is made with a UHR sample

- API-06: Submit API sample to the laboratory for traditional DNA testing, analysis, or quarantine until possible association is made with a UHR sample

- EDS-06: Submit EDS to the laboratory for traditional DNA testing, analysis, or addition to a missing and UHR elimination database until all API samples have been analyzed

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative
of missing individual

Legend

BIN 1 (UHR-01, FRS-01, API-01, or EDS-01)

BIN 2 (UHR-02, FRS-02, API-02, or EDS-02)

BIN 3 (UHR-03, FRS-03, API-03, or EDS-03)

BIN 4 (UHR-04, FRS-04, API-04, or EDS-04)

BIN 5 (UHR-05, FRS-05, API-05, or EDS-05)

BIN 6 (UHR-06, FRS-06, API-06, or EDS-06)

BIN 7 (FRS-07)

ID BIN (ID-01 or ID-02)

Sample Tracking Table

| Sample Type | Bin Label | Location (e.g., at scene, at laboratory) | Bin Storage Location (e.g., tent fridge, laboratory fridge, refrigerated truck) |
| --- | --- | --- | --- |
| UHR Samples | UHR-01 |  |  |
|  | UHR-02 |  |  |
|  | UHR-03 |  |  |
|  | UHR-04 |  |  |
|  | UHR-05 |  |  |
|  | UHR-06 |  |  |
| FRS | FRS-01 |  |  |
|  | FRS-02 |  |  |
|  | FRS-03 |  |  |
|  | FRS-04 |  |  |
|  | FRS-05 |  |  |
|  | FRS-06 |  |  |
|  | FRS-07 |  |  |

Sample Tracking Table (continued)

| Sample Type | Bin Label | Location (e.g., at scene, at laboratory) | Bin Storage Location (e.g., tent fridge, laboratory fridge, refrigerated truck) |
| --- | --- | --- | --- |
| API Samples | API-01 |  |  |
|  | API-02 |  |  |
|  | API-03 |  |  |
|  | API-04 |  |  |
|  | API-05 |  |  |
|  | API-06 |  |  |
| EDS | EDS-01 |  |  |
|  | EDS-02 |  |  |
|  | EDS-03 |  |  |
|  | EDS-04 |  |  |
|  | EDS-05 |  |  |
|  | EDS-06 |  |  |
| ID Samples | ID-01 |  |  |
|  | ID-02 |  |  |

BIN: UHR-01

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: UHR-02

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: UHR-03

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: UHR-04

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: UHR-05

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: UHR-06

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-01

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-02

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-03

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-04

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-05

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-06

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: FRS-07

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: API-01

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: API-02

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: API-03

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: API-04

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: API-05

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: API-06

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: EDS-01

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: EDS-02

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: EDS-03

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: EDS-04

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: EDS-05

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: EDS-06

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: ID-01

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)

BIN: ID-02

ID BIN (ID-01 or ID-02)

- ID-01: Missing relative ID’d and documented

- ID-02: Ready to release to medical examiner/coroner or contact made with familial relative of missing individual

Location

Description of Contents (include batch numbers)